## Sheet1
| filename | Density g/cm3 | σ Density g/cm3 | σ Density g/cm3 (from Ne+peakfit) | σ Density g/cm3 (from densimeter) | Corrected_Splitting | Corrected_Splitting_σ | Corrected_Splitting_σ_Ne | Corrected_Splitting_σ_peak_fit | power (mW) | Spectral Center | Preferred D_σ_Ne | Preferred D_σ_pkfit | in range | Notes | LowD_RT | HighD_RT | LowD_SC | LowD_SC_σ | MedD_SC | MedD_SC_σ | HighD_SC | HighD_SC_σ | Temperature | Splitting | Split_σ | Diad1_Combofit_Cent | Diad1_cent_err | Diad1_Combofit_Height | Diad1_Voigt_Cent | Diad1_Voigt_Area | Diad1_Voigt_Sigma | Diad1_Residual | Diad1_Prop_Lor | Diad1_fwhm | Diad1_refit | Diad2_Combofit_Cent | Diad2_cent_err | Diad2_Combofit_Height | Diad2_Voigt_Cent | Diad2_Voigt_Area | Diad2_Voigt_Sigma | Diad2_Voigt_Gamma | Diad2_Residual | Diad2_Prop_Lor | Diad2_fwhm | Diad2_refit | HB1_Cent | HB1_Area | HB1_Sigma | HB2_Cent | HB2_Area | HB2_Sigma | C13_Cent | C13_Area | C13_Sigma | Diad2_Gauss_Cent | Diad2_Gauss_Area | Diad2_Gauss_Sigma | Diad1_Gauss_Cent | Diad1_Gauss_Area | Diad1_Gauss_Sigma | date | Month | Day | Int_time (s) | accumulations | Mag (X) | duration | 24hr_time | sec since midnight | time | preferred_values | lower_values | upper_values
6 | LL4-FI1-#2 | 0.12632 | 0.0039473 | 0.00091705 | 0.0038393 | 103.069 | 0.0023144 | 0.00070349 | 0.0022087 | 12.035 | 1324.987 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12632 | 0.0039473 | 0.12946 | 0.0025588 | -0.052892 | 0.0025359 | SupCrit | 103.2497 | 0.0022087 | 1285.3665 | 0.0016619 | 1251.4879 | 1285.3666 | 1851.724 | 0.56127 | 3.917 | 0.59724 | 1.1225 | Flagged Warnings: | 1388.6163 | 0.0014549 | 2164.8034 | 1388.6162 | 2708.6332 | 0.49757 | 0 | 4.3808 | 0.48469 | 0.99514 | Flagged Warnings: | 1265.1527 | 214.0809 | 0.82808 | 1409.9353 | 338.2616 | 0.62448 | 1369.0316 | 72.3764 | 0.024826 | 1388.3603 | 221.8456 | 12.4079 |  |  |  | October 7, 2022 | October | 7 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 2:15:04 PM | 51304 | 51304 | 0.99825 | 0.99824 | 0.99826
5 | LL4-FI1-#2 (1) | 0.12483 | 0.0041187 | 0.0014985 | 0.0038364 | 103.0653 | 0.0037817 | 0.00069336 | 0.0037241 | 6.033 | 1324.987 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12483 | 0.0041187 | 0.12795 | 0.0028258 | -0.055618 | 0.0033394 | SupCrit | 103.2465 | 0.0037241 | 1285.3536 | 0.0033499 | 589.6212 | 1285.3537 | 899.1043 | 0.58023 | 2.6202 | 0.5894 | 1.1605 | Flagged Warnings: | 1388.6001 | 0.0016269 | 1049.1405 | 1388.6001 | 1331.606 | 0.50023 | 0 | 2.3181 | 0.50983 | 1.0005 | Flagged Warnings: | 1265.2056 | 86.9833 | 0.63964 | 1409.9635 | 145.1395 | 0.66613 | 1370.2613 | 22.5979 | 0.24991 | 1386.6572 | 56.5716 | 4.9983 |  |  |  | October 7, 2022 | October | 7 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 2:24:04 PM | 51844 | 51844 | 0.99825 | 0.99824 | 0.99825
0 | LL4-FI1-#1 | 0.12747 | 0.0052915 | 0.0036389 | 0.0038416 | 103.0719 | 0.0091836 | 0.00068375 | 0.0091743 | 6.027 | 1324.987 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12747 | 0.0052915 | 0.13062 | 0.0043872 | -0.050795 | 0.0069173 | SupCrit | 103.2537 | 0.0091743 | 1285.3204 | 0.0079119 | 239.4945 | 1285.3205 | 365.0997 | 0.57337 | 2.8144 | 0.61839 | 1.1467 | Flagged Warnings: | 1388.5742 | 0.0046442 | 433.8929 | 1388.5742 | 559.6238 | 0.50684 | 0 | 2.7553 | 0.50716 | 1.0137 | Flagged Warnings: | 1264.8384 | 33.0091 | 0.63972 | 1409.9622 | 66.5799 | 0.85 | [9 empty] | October 7, 2022 | October | 7 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 2:33:50 PM | 52430 | 52430 | 0.99824 | 0.99823 | 0.99825
3 | LL8-433-FI_12mW | 0.093485 | 0.0042063 | 0.0017997 | 0.0038019 | 102.9862 | 0.0045421 | 0.00065653 | 0.0045024 | 11.991 | 1324.987 | 0 | 0 | Y | SupCrit, low density |  |  | 0.093485 | 0.0042063 | 0.096378 | 0.0029998 | -0.11369 | 0.0038857 | SupCrit | 103.1704 | 0.0045024 | 1285.6259 | 0 | 1081.4898 | 1285.6259 | 1411.3583 | 0.48061 | 16.4699 | 0.67858 | 0.96122 | Flagged Warnings: | 1388.7964 | 0.0045024 | 1805.8022 | 1388.7964 | 1918.9624 | 0.43815 | 0 | 15.6118 | 0.37925 | 0.87631 | Flagged Warnings: |  |  |  | 1410.1996 | 258.5281 | 0.54686 | [9 empty] | October 7, 2022 | October | 7 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 3:29:22 PM | 55762 | 55762 | 0.99821 | 0.99821 | 0.99822
4 | LL8-433-FI_6mW | 0.08748 | 0.0064192 | 0.0051728 | 0.003801 | 102.971 | 0.013055 | 0.00065694 | 0.013062 | 6.03 | 1324.987 | 0 | 0 | Y | SupCrit, low density |  |  | 0.08748 | 0.0064192 | 0.090356 | 0.0057116 | -0.12497 | 0.0099266 | SupCrit | 103.1556 | 0.013062 | 1285.6192 | 0.012549 | 624.1814 | 1285.6192 | 863.3798 | 0.50933 | 10.4093 | 0.67626 | 1.0187 | Flagged Warnings: | 1388.7749 | 0.0036235 | 1069.4058 | 1388.7748 | 1168.5887 | 0.43445 | 0 | 8.153 | 0.47651 | 0.86891 | Flagged Warnings: |  |  |  | 1409.8686 | 125.3801 | 0.71507 | [9 empty] | October 7, 2022 | October | 7 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 3:38:52 PM | 56332 | 56332 | 0.99821 | 0.9982 | 0.99822
7 | LL7-107-FI#2_12mW1acc | 0.27549 | 0.0029702 | 0.0018105 | 0.0023546 | 103.4253 | 0.0043075 | 0.00066887 | 0.0042629 | 11.939 | 1324.987 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.2675 | 0.0048676 | 0.27549 | 0.0029702 | 0.19181 | 0.0033198 | SupCrit | 103.6115 | 0.0042629 | 1284.4658 | 0.0038506 | 2622.9472 | 1284.4659 | 6051.4751 | 0.84205 | 9.5791 | 0.69252 | 1.6841 | Flagged Warnings: | 1388.0774 | 0.0018289 | 5372.8329 | 1388.0774 | 9284.3892 | 0.64289 | 0 | 10.9008 | 0.64986 | 1.2858 | Flagged Warnings: | 1264.3859 | 762.4407 | 1.3418 | 1409.5016 | 956.6629 | 0.94121 | 1370.0594 | 131.9352 | 0.32113 | 1392.7744 | 403.7802 | 16.0565 |  |  |  | October 7, 2022 | October | 7 | 45 | 1 | 50 | ['0h', '1m', '23s'] | 4:04:48 PM | 57888 | 57888 | 0.9982 | 0.9982 | 0.99821
8 | LL7-107-FI#2_6mW | 0.27441 | 0.0028124 | 0.0015378 | 0.0023547 | 103.4228 | 0.0036602 | 0.00066969 | 0.0036049 | 6.029 | 1324.987 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.26648 | 0.0047762 | 0.27441 | 0.0028124 | 0.19013 | 0.0029771 | SupCrit | 103.6089 | 0.0036049 | 1284.449 | 0.0032362 | 1353.2105 | 1284.449 | 3115.2193 | 0.83328 | 4.6922 | 0.71242 | 1.6666 | Flagged Warnings: | 1388.0579 | 0.0015881 | 2748.6448 | 1388.0579 | 4783.9532 | 0.6473 | 0 | 4.7091 | 0.65359 | 1.2946 | Flagged Warnings: | 1264.2616 | 372.374 | 1.4734 | 1409.4785 | 543.3936 | 1.0519 | 1370.0695 | 64.0858 | 0.32339 | 1383.9245 | 339.5131 | 16.1699 |  |  |  | October 7, 2022 | October | 7 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 4:06:15 PM | 57975 | 57975 | 0.9982 | 0.9982 | 0.99821
1 | LL7-109-FI | 0.21293 | 0.012212 | 0.011981 | 0.0023643 | 103.2748 | 0.02915 | 0.0006805 | 0.029195 | 5.999 | 1324.987 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.20784 | 0.012276 | 0.21293 | 0.012212 | 0.091719 | 0.019933 | SupCrit | 103.461 | 0.029195 | 1284.8221 | 0.02842 | 160.7746 | 1284.8221 | 345.5994 | 0.76848 | 3.9285 | 0.74172 | 1.537 | Flagged Warnings: | 1388.2832 | 0.0066816 | 317.8428 | 1388.2831 | 498.6808 | 0.58003 | 0 | 4.4934 | 0.66063 | 1.1601 | Flagged Warnings: | 1264.4118 | 49.8251 | 1.0342 | 1409.5766 | 39.6652 | 0.78979 | [9 empty] | October 7, 2022 | October | 7 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 4:22:46 PM | 58966 | 58966 | 0.9982 | 0.99819 | 0.99821
2 | LL7-FI34 | 0.12715 | 0.0043342 | 0.002008 | 0.003841 | 103.0712 | 0.0050677 | 0.00069468 | 0.0050289 | 6.021 | 1324.987 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12715 | 0.0043342 | 0.1303 | 0.0031328 | -0.051366 | 0.004134 | SupCrit | 103.2572 | 0.0050289 | 1285.3248 | 0 | 1029.2433 | 1285.3248 | 1543.5574 | 0.55129 | 11.7543 | 0.67449 | 1.1026 | Flagged Warnings: | 1388.5821 | 0.0050289 | 1695.8361 | 1388.5821 | 2200.5291 | 0.51939 | 0 | 12.5996 | 0.45889 | 1.0388 | Flagged Warnings: | 1264.7372 | 1164.5421 | 0.058848 | 1409.9599 | 262.5062 | 0.69802 | [9 empty] | October 7, 2022 | October | 7 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 4:38:57 PM | 59937 | 59937 | 0.9982 | 0.99819 | 0.9982
9 | LL7-FI33 | 0.11694 | 0.0041705 | 0.0016666 | 0.003823 | 103.0454 | 0.0042059 | 0.00070948 | 0.0041531 | 6.042 | 1324.987 | 0 | 0 | Y | SupCrit, low density |  |  | 0.11694 | 0.0041705 | 0.11998 | 0.0029205 | -0.07011 | 0.0036154 | SupCrit | 103.2315 | 0.0041531 | 1285.4059 | 0.0036037 | 1158.042 | 1285.406 | 1682.9092 | 0.52099 | 6.829 | 0.7351 | 1.042 | Flagged Warnings: | 1388.6375 | 0.0020644 | 1914.7973 | 1388.6375 | 2353.2832 | 0.48887 | 0 | 5.924 | 0.4856 | 0.97775 | Flagged Warnings: | 1265.1544 | 269.6814 | 1.2652 | 1409.9535 | 326.4955 | 0.68931 | 1369.1018 | 79.8108 | 0.07438 | 1384.9373 | 122.0352 | 4.8722 |  |  |  | October 7, 2022 | October | 7 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 4:51:48 PM | 60708 | 60708 | 0.9982 | 0.99819 | 0.9982