## Sheet1
| filename | Density g/cm3 | σ Density g/cm3 | σ Density g/cm3 (from Ne+peakfit) | σ Density g/cm3 (from densimeter) | Corrected_Splitting | Corrected_Splitting_σ | Corrected_Splitting_σ_Ne | Corrected_Splitting_σ_peak_fit | power (mW) | Spectral Center | Preferred D_σ_Ne | Preferred D_σ_pkfit | in range | Notes | LowD_RT | HighD_RT | LowD_SC | LowD_SC_σ | MedD_SC | MedD_SC_σ | HighD_SC | HighD_SC_σ | Temperature | Splitting | Split_σ | Diad1_Combofit_Cent | Diad1_cent_err | Diad1_Combofit_Height | Diad1_Voigt_Cent | Diad1_Voigt_Area | Diad1_Voigt_Sigma | Diad1_Residual | Diad1_Prop_Lor | Diad1_fwhm | Diad1_refit | Diad2_Combofit_Cent | Diad2_cent_err | Diad2_Combofit_Height | Diad2_Voigt_Cent | Diad2_Voigt_Area | Diad2_Voigt_Sigma | Diad2_Voigt_Gamma | Diad2_Residual | Diad2_Prop_Lor | Diad2_fwhm | Diad2_refit | HB1_Cent | HB1_Area | HB1_Sigma | HB2_Cent | HB2_Area | HB2_Sigma | C13_Cent | C13_Area | C13_Sigma | Diad2_Gauss_Cent | Diad2_Gauss_Area | Diad2_Gauss_Sigma | Diad1_Gauss_Cent | Diad1_Gauss_Area | Diad1_Gauss_Sigma | date | Month | Day | Int_time (s) | accumulations | Mag (X) | duration | 24hr_time | sec since midnight | Peak_Cent_SO2 | Peak_Area_SO2 | Peak_Height_SO2 | Model_name | SO2_Diad_Ratio | SO2_mol_ratio | time | preferred_values | lower_values | upper_values
0 | LL4-FI5-rep1 | 0.29768 | 0.0033447 | 0.0023778 | 0.0023522 | 103.4779 | 0.005609 | 0.00050869 | 0.0055981 | 5.995 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.28833 | 0.0052222 | 0.29768 | 0.0033447 | 0.22561 | 0.0039933 | SupCrit | 103.7046 | 0.0055981 | 1284.0316 | 0.005148 | 629.551 | 1284.0316 | 1559.7054 | 0.91033 | 3.9285 | 0.67665 | 1.8207 | Flagged Warnings: | 1387.7363 | 0.0021993 | 1352.2838 | 1387.7362 | 2428.6831 | 0.64415 | 0 | 4.5447 | 0.73389 | 1.2883 | Flagged Warnings: | 1263.8323 | 199.9181 | 1.8899 | 1409.1178 | 260.8036 | 1.1867 | [9 empty] | October 17, 2022 | October | 17 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 10:27:26 AM | 37646 | 1149.8847 | 122.7502 | 76.0892 | Spline | 0.030777 | 0.7 | 37646 | 0.99781 | 0.99781 | 0.99782
1 | LL4-FI6 | 0.13723 | 0.0043963 | 0.0020974 | 0.0038638 | 103.0966 | 0.0052932 | 0.00050042 | 0.0052811 | 11.962 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.13723 | 0.0043963 | 0.14051 | 0.0031939 | -0.033022 | 0.0042503 | SupCrit | 103.3225 | 0.0052811 | 1284.9994 | 0.0049093 | 708.7092 | 1284.9995 | 1102.4589 | 0.57645 | 4.8191 | 0.65502 | 1.1529 | Flagged Warnings: | 1388.3221 | 0.0019463 | 1270.1326 | 1388.322 | 1600.6248 | 0.48422 | 0 | 4.1726 | 0.56474 | 0.96844 | Flagged Warnings: | 1264.7073 | 104.0265 | 0.9536 | 1409.6404 | 192.7773 | 0.75291 | [9 empty] | October 17, 2022 | October | 17 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 10:50:05 AM | 39005 | 1150.2976 | 222.5692 | 157.2752 | Spline | 0.082339 | 1.9 | 39005 | 0.99781 | 0.99781 | 0.99782
2 | LL4-FI7-#1 | 0.089567 | 0.0080801 | 0.0071302 | 0.0038011 | 102.9763 | 0.017995 | 0.00048673 | 0.018028 | 12.058 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.089567 | 0.0080801 | 0.092448 | 0.0075402 | -0.12104 | 0.013539 | SupCrit | 103.2033 | 0.018028 | 1285.5027 | 0.015415 | 196.5733 | 1285.5027 | 227.0071 | 0.44966 | 3.8494 | 0.52981 | 0.89931 | Flagged Warnings: | 1388.7061 | 0.0093474 | 331.1389 | 1388.7061 | 323.5691 | 0.38202 | 0 | 3.2401 | 0.5203 | 0.76404 | Flagged Warnings: |  |  |  | 1410.06 | 38.7508 | 0.49192 | [9 empty] | October 17, 2022 | October | 17 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 11:52:31 AM | 42751 | [6 empty] | 42751 | 0.9978 | 0.9978 | 0.9978
3 | LL4-FI7-#2 | 0.079359 | 0.0052137 | 0.0035668 | 0.0038028 | 102.9505 | 0.0090016 | 0.00048494 | 0.0090084 | 5.994 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.079359 | 0.0052137 | 0.082225 | 0.0043004 | -0.1403 | 0.0070264 | SupCrit | 103.1779 | 0.0090084 | 1285.5084 | 0.0078886 | 201.2575 | 1285.5084 | 236.0782 | 0.46848 | 2.3758 | 0.46242 | 0.93697 | Flagged Warnings: | 1388.6863 | 0.00435 | 330.6904 | 1388.6863 | 347.6587 | 0.43226 | 0 | 2.1651 | 0.38688 | 0.86452 | Flagged Warnings: |  |  |  | 1409.9918 | 45.6812 | 0.50307 | [9 empty] | October 17, 2022 | October | 17 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 12:04:03 PM | 43443 | 1150.6811 | 56.3572 | 44.7272 | Spline | 0.096546 | 2.3 | 43443 | 0.9978 | 0.99779 | 0.9978
4 | LL4-FI7-#3-cosmicrays | 0.056528 | 0.0074849 | 0.0064333 | 0.0038258 | 102.8929 | 0.016236 | 0.00048357 | 0.016265 | 12.002 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.056528 | 0.0074849 | 0.059438 | 0.0068443 | -0.18388 | 0.012534 | SupCrit | 103.1204 | 0.016265 | 1285.5616 | 0.013768 | 128.9652 | 1285.5616 | 146.3701 | 0.46604 | 2.5359 | 0.38576 | 0.93207 | Flagged Warnings: | 1388.682 | 0.0086588 | 213.388 | 1388.682 | 228.2505 | 0.42599 | 0 | 2.5571 | 0.47509 | 0.85198 | Flagged Warnings: | [15 empty] | October 17, 2022 | October | 17 | 45 | 4 | 50 | ['0h', '3m', '32s'] | 12:12:45 PM | 43965 | 1150.7991 | 30.6561 | 20.7989 | Spline | 0.081832 | 1.9 | 43965 | 0.99779 | 0.99779 | 0.9978
5 | LL4-FI7-#3 | 0.056431 | 0.0077076 | 0.0066909 | 0.003826 | 102.8927 | 0.016886 | 0.00048316 | 0.016916 | 12.002 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.056431 | 0.0077076 | 0.059342 | 0.0070849 | -0.18406 | 0.013025 | SupCrit | 103.1203 | 0.016916 | 1285.5517 | 0.015228 | 128.2101 | 1285.5517 | 146.7084 | 0.43743 | 2.4823 | 0.57188 | 0.87486 | Flagged Warnings: | 1388.672 | 0.0073681 | 231.1572 | 1388.672 | 235.2217 | 0.43298 | 0 | 2.5127 | 0.29016 | 0.86597 | Flagged Warnings: | [15 empty] | October 17, 2022 | October | 17 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 12:16:18 PM | 44178 | 1150.5926 | 25.3254 | 20.6887 | Spline | 0.066309 | 1.6 | 44178 | 0.99779 | 0.99779 | 0.9978
6 | LL4-FI7-#4 | 0.07104 | 0.0052853 | 0.003665 | 0.0038081 | 102.9295 | 0.0092495 | 0.0004822 | 0.0092574 | 12.082 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.07104 | 0.0052853 | 0.07391 | 0.0043786 | -0.15609 | 0.0072473 | SupCrit | 103.1577 | 0.0092574 | 1285.5142 | 0.0076648 | 194.6775 | 1285.5142 | 234.3785 | 0.47619 | 2.2045 | 0.48933 | 0.95238 | Flagged Warnings: | 1388.6719 | 0.0051913 | 335.3895 | 1388.6719 | 353.0231 | 0.41455 | 0 | 2.2326 | 0.50365 | 0.82909 | Flagged Warnings: | [15 empty] | October 17, 2022 | October | 17 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 12:27:22 PM | 44842 | 1150.6516 | 51.3107 | 40.5822 | Spline | 0.087352 | 2.1 | 44842 | 0.99779 | 0.99778 | 0.99779
7 | LL4-FI7-#5 | 0.073253 | 0.0040303 | 0.0013249 | 0.0038063 | 102.9351 | 0.0033437 | 0.00048156 | 0.0033161 | 6.015 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.073253 | 0.0040303 | 0.07612 | 0.0027429 | -0.15188 | 0.0031842 | SupCrit | 103.1636 | 0.0033161 | 1285.5352 | 0.0028844 | 432.8167 | 1285.5352 | 522.7873 | 0.46698 | 1.3639 | 0.54904 | 0.93395 | Flagged Warnings: | 1388.6988 | 0.0016362 | 720.8627 | 1388.6988 | 759.1011 | 0.43283 | 0 | 1.6654 | 0.38769 | 0.86566 | Flagged Warnings: | 1265.2422 | 62.7331 | 0.49994 | 1410.0425 | 78.8105 | 0.49706 | [9 empty] | October 17, 2022 | October | 17 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 12:35:13 PM | 45313 | 1150.7401 | 86.4223 | 53.017 | Spline | 0.067418 | 1.6 | 45313 | 0.99779 | 0.99778 | 0.99779
8 | LL4-FI7-#6 | 0.072361 | 0.0049372 | 0.0031437 | 0.003807 | 102.9329 | 0.0079339 | 0.00048105 | 0.0079369 | 6.033 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.072361 | 0.0049372 | 0.075229 | 0.0039541 | -0.15358 | 0.0062909 | SupCrit | 103.1616 | 0.0079369 | 1285.5515 | 0.0072072 | 200.7486 | 1285.5515 | 238.4982 | 0.47725 | 1.9689 | 0.4517 | 0.95449 | Flagged Warnings: | 1388.7131 | 0.0033242 | 341.7611 | 1388.7131 | 364.8109 | 0.42411 | 0 | 1.5251 | 0.47819 | 0.84823 | Flagged Warnings: |  |  |  | 1409.987 | 30.4625 | 0.52904 | [9 empty] | October 17, 2022 | October | 17 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 12:42:20 PM | 45740 | 1150.7401 | 83.2058 | 48.1498 | Spline | 0.13792 | 3.2 | 45740 | 0.99778 | 0.99778 | 0.99779
9 | LL4-FI7-#7 | 0.093149 | 0.029844 | 0.029601 | 0.0038018 | 102.9853 | 0.074705 | 0.00048093 | 0.07487 | 6.03 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.093149 | 0.029844 | 0.096041 | 0.029805 | -0.11432 | 0.05552 | SupCrit | 103.2144 | 0.07487 | 1285.5301 | 0.066474 | 28.1387 | 1285.5301 | 31.4354 | 0.53022 | 2.5391 | 3.5947e-09 | 1.0604 | Flagged Warnings: | 1388.7446 | 0.034447 | 50.5546 | 1388.7446 | 52.3321 | 0.46016 | 0 | 2.7846 | 0.19644 | 0.92031 | Flagged Warnings: | [15 empty] | October 17, 2022 | October | 17 | 45 | 2 | 50 | ['0h', '1m', '39s'] | 12:48:27 PM | 46107 | [6 empty] | 46107 | 0.99778 | 0.99778 | 0.99779
10 | LL4-FI7-#7-rep1 | 0.063864 | 0.01308 | 0.012511 | 0.0038155 | 102.9114 | 0.031575 | 0.00048042 | 0.031641 | 11.994 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.063864 | 0.01308 | 0.066748 | 0.012707 | -0.1698 | 0.02403 | SupCrit | 103.1405 | 0.031641 | 1285.5984 | 0.027995 | 55.6598 | 1285.5984 | 61.3501 | 0.49589 | 1.8864 | 0.13436 | 0.99178 | Flagged Warnings: | 1388.7389 | 0.014747 | 96.4515 | 1388.7389 | 95.6941 | 0.41565 | 0 | 1.9314 | 0.3325 | 0.83131 | Flagged Warnings: | [15 empty] | October 17, 2022 | October | 17 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 12:51:55 PM | 46315 | [6 empty] | 46315 | 0.99778 | 0.99777 | 0.99778
11 | LL4-FI7-#8 | 0.084679 | 0.0040041 | 0.0012586 | 0.0038012 | 102.964 | 0.0031763 | 0.00048033 | 0.0031468 | 12.036 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.084679 | 0.0040041 | 0.08755 | 0.0027093 | -0.13025 | 0.0030638 | SupCrit | 103.1935 | 0.0031468 | 1285.4519 | 0.00263 | 635.3642 | 1285.4519 | 824.9185 | 0.50441 | 2.208 | 0.53652 | 1.0088 | Flagged Warnings: | 1388.6455 | 0.0017277 | 1034.1615 | 1388.6454 | 1176.0329 | 0.45241 | 0 | 2.5975 | 0.47494 | 0.90481 | Flagged Warnings: | 1265.1495 | 89.2667 | 0.80229 | 1409.9606 | 162.2298 | 0.51331 | [9 empty] | October 17, 2022 | October | 17 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 1:00:42 PM | 46842 | 1150.6811 | 96.948 | 52.2665 | Spline | 0.048451 | 1.2 | 46842 | 0.99778 | 0.99777 | 0.99778
12 | LL4-FI7-#9 | 0.063678 | 0.0047901 | 0.0028957 | 0.0038158 | 102.911 | 0.0073079 | 0.0004799 | 0.0073084 | 12.069 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.063678 | 0.0047901 | 0.066563 | 0.0037585 | -0.17015 | 0.0058788 | SupCrit | 103.1407 | 0.0073084 | 1285.5798 | 0.006543 | 269.775 | 1285.5798 | 334.5263 | 0.48175 | 2.3657 | 0.53817 | 0.9635 | Flagged Warnings: | 1388.7206 | 0.0032561 | 467.8064 | 1388.7206 | 484.6703 | 0.43439 | 0 | 2.2177 | 0.33324 | 0.86878 | Flagged Warnings: |  |  |  | 1410.0238 | 54.7132 | 0.32893 | [9 empty] | October 17, 2022 | October | 17 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 1:08:35 PM | 47315 | 1150.6516 | 100.2046 | 57.087 | Spline | 0.12232 | 2.9 | 47315 | 0.99777 | 0.99777 | 0.99778
13 | LL4-FI7-#10 | 0.067682 | 0.0039322 | 0.00096792 | 0.0038112 | 102.9211 | 0.0024428 | 0.00047988 | 0.0024005 | 12.041 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.067682 | 0.0039322 | 0.070557 | 0.0025911 | -0.1625 | 0.0026881 | SupCrit | 103.1512 | 0.0024005 | 1285.5827 | 0.0020711 | 974.9179 | 1285.5828 | 1185.0804 | 0.48443 | 3.2382 | 0.47034 | 0.96886 | Flagged Warnings: | 1388.7341 | 0.0012137 | 1701.9227 | 1388.734 | 1795.8562 | 0.43219 | 0 | 2.92 | 0.39722 | 0.86438 | Flagged Warnings: | 1265.2686 | 119.0015 | 0.48008 | 1410.0362 | 195.3894 | 0.42384 | [9 empty] | October 17, 2022 | October | 17 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 1:16:58 PM | 47818 | 1150.7401 | 360.3922 | 250.1083 | Spline | 0.1209 | 2.8 | 47818 | 0.99777 | 0.99776 | 0.99777
14 | LL4-FI7-#10-rep1 | 0.07347 | 0.0041495 | 0.0016528 | 0.0038062 | 102.9357 | 0.0041713 | 0.00047997 | 0.0041529 | 6.011 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.07347 | 0.0041495 | 0.076337 | 0.0029151 | -0.15147 | 0.0036967 | SupCrit | 103.1661 | 0.0041529 | 1285.5739 | 0.0036992 | 487.2137 | 1285.574 | 600.9481 | 0.47592 | 2.107 | 0.55407 | 0.95185 | Flagged Warnings: | 1388.7401 | 0.0018873 | 845.2607 | 1388.74 | 897.7266 | 0.42573 | 0 | 2.2841 | 0.45493 | 0.85146 | Flagged Warnings: | 1265.286 | 62.4686 | 0.58277 | 1410.036 | 94.6626 | 0.32789 | [9 empty] | October 17, 2022 | October | 17 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 1:21:53 PM | 48113 | 1150.7401 | 176.8145 | 120.08 | Spline | 0.11798 | 2.8 | 48113 | 0.99777 | 0.99776 | 0.99777
15 | LL4-FI7-#11 | 0.075336 | 0.0041396 | 0.0016306 | 0.0038049 | 102.9404 | 0.0041151 | 0.00048015 | 0.0040962 | 6.039 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.075336 | 0.0041396 | 0.078202 | 0.0029024 | -0.14793 | 0.0036565 | SupCrit | 103.1712 | 0.0040962 | 1285.5769 | 0.0036199 | 375.6451 | 1285.577 | 463.138 | 0.48146 | 1.5375 | 0.52332 | 0.96291 | Flagged Warnings: | 1388.7482 | 0.001917 | 655.4636 | 1388.7482 | 682.4258 | 0.427 | 0 | 1.7625 | 0.39363 | 0.854 | Flagged Warnings: | 1265.2497 | 47.9277 | 0.49552 | 1410.0476 | 76.3925 | 0.52188 | [9 empty] | October 17, 2022 | October | 17 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 1:30:33 PM | 48633 | 1150.7401 | 74.9773 | 56.4305 | Spline | 0.06545 | 1.6 | 48633 | 0.99776 | 0.99776 | 0.99777
16 | LL4-FI7-#12cosmicray | 0.079026 | 0.0043637 | 0.0021401 | 0.0038029 | 102.9497 | 0.005401 | 0.00048043 | 0.0053916 | 6.026 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.079026 | 0.0043637 | 0.081892 | 0.0032162 | -0.14093 | 0.004494 | SupCrit | 103.1808 | 0.0053916 | 1285.5513 | 0.0049737 | 312.512 | 1285.5513 | 395.094 | 0.50176 | 2.0438 | 0.48298 | 1.0035 | Flagged Warnings: | 1388.7322 | 0.0020813 | 561.953 | 1388.7321 | 602.2505 | 0.43617 | 0 | 1.5859 | 0.41442 | 0.87234 | Flagged Warnings: |  |  |  | 1410.0123 | 65.3521 | 0.55154 | [9 empty] | October 17, 2022 | October | 17 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 1:37:51 PM | 49071 | 1150.7106 | 78.174 | 55.9716 | Spline | 0.078382 | 1.9 | 49071 | 0.99776 | 0.99776 | 0.99776
17 | LL4-FI7-#12 | 0.071481 | 0.0043873 | 0.0021795 | 0.0038077 | 102.9307 | 0.0055004 | 0.00048052 | 0.0054917 | 6.033 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.071481 | 0.0043873 | 0.07435 | 0.0032423 | -0.15525 | 0.0045845 | SupCrit | 103.1619 | 0.0054917 | 1285.5606 | 0.0051915 | 318.2735 | 1285.5606 | 389.0823 | 0.49305 | 2.1909 | 0.44134 | 0.98611 | Flagged Warnings: | 1388.7226 | 0.001791 | 564.9873 | 1388.7226 | 603.3652 | 0.43755 | 0 | 1.3532 | 0.3963 | 0.8751 | Flagged Warnings: |  |  |  | 1410.07 | 57.3668 | 0.49094 | [9 empty] | October 17, 2022 | October | 17 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 1:42:09 PM | 49329 | 1150.7401 | 78.4041 | 59.9901 | Spline | 0.079001 | 1.9 | 49329 | 0.99776 | 0.99775 | 0.99776
18 | LL4-FI7-#13 | 0.027856 | 0.019565 | 0.019174 | 0.003892 | 102.8206 | 0.04839 | 0.00048042 | 0.048496 | 6.02 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.027856 | 0.019565 | 0.030959 | 0.019154 | -0.23961 | 0.037697 | SupCrit | 103.0519 | 0.048496 | 1285.6598 | 0.042997 | 36.6802 | 1285.6598 | 36.5317 | 0.46169 | 2.6452 | 7.7742e-08 | 0.92339 | Flagged Warnings: | 1388.7117 | 0.02243 | 62.7402 | 1388.7117 | 68.2541 | 0.49757 | 0 | 2.2469 | 0.081954 | 0.99515 | Flagged Warnings: | [15 empty] | October 17, 2022 | October | 17 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 1:49:41 PM | 49781 | [6 empty] | 49781 | 0.99775 | 0.99775 | 0.99776
19 | LL4-FI8-#1cosmicratondiad | 0.23045 | 0.0027741 | 0.0014563 | 0.0023611 | 103.3173 | 0.0035222 | 0.00048358 | 0.0034967 | 6.039 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.22469 | 0.0044802 | 0.23045 | 0.0027741 | 0.12047 | 0.0029874 | SupCrit | 103.5503 | 0.0034967 | 1284.5945 | 0.0031386 | 1033.1138 | 1284.5946 | 2182.8422 | 0.79092 | 4.1579 | 0.63056 | 1.5818 | Flagged Warnings: | 1388.1449 | 0.0015414 | 2079.1587 | 1388.1449 | 3394.4598 | 0.60341 | 0 | 4.7539 | 0.66156 | 1.2068 | Flagged Warnings: | 1264.3444 | 257.0521 | 1.2268 | 1409.5446 | 392.84 | 0.9116 | [9 empty] | October 17, 2022 | October | 17 | 45 | 4 | 50 | ['0h', '3m', '34s'] | 2:01:24 PM | 50484 | 1150.1796 | 299.1132 | 245.462 | Spline | 0.05363 | 1.3 | 50484 | 0.99775 | 0.99775 | 0.99775
20 | LL4-FI8-#1 | 0.22557 | 0.0028271 | 0.0015536 | 0.0023619 | 103.3055 | 0.0037637 | 0.00048384 | 0.0037409 | 6.039 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.22 | 0.0044834 | 0.22557 | 0.0028271 | 0.11251 | 0.0031273 | SupCrit | 103.5386 | 0.0037409 | 1284.6171 | 0.0032846 | 1037.7095 | 1284.6171 | 2173.086 | 0.77321 | 4.3342 | 0.66422 | 1.5464 | Flagged Warnings: | 1388.1558 | 0.0017904 | 2065.4283 | 1388.1557 | 3348.8874 | 0.60825 | 0 | 4.6739 | 0.62492 | 1.2165 | Flagged Warnings: | 1264.3766 | 243.1569 | 1.1536 | 1409.5538 | 368.9748 | 0.88832 | [9 empty] | October 17, 2022 | October | 17 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 2:05:00 PM | 50700 | 1150.1796 | 292.7739 | 232.1778 | Spline | 0.05302 | 1.3 | 50700 | 0.99775 | 0.99774 | 0.99775
21 | LL4-FI9-#1 | 0.097077 | 0.0045232 | 0.0024483 | 0.0038033 | 102.9953 | 0.0061788 | 0.00048463 | 0.0061737 | 6.029 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.097077 | 0.0045232 | 0.099985 | 0.0034319 | -0.10697 | 0.0049651 | SupCrit | 103.2286 | 0.0061737 | 1285.443 | 0.0054737 | 416.7712 | 1285.4431 | 563.388 | 0.51777 | 3.1093 | 0.5727 | 1.0355 | Flagged Warnings: | 1388.6717 | 0.0028554 | 727.3953 | 1388.6717 | 835.3751 | 0.45908 | 0 | 2.8527 | 0.4623 | 0.91816 | Flagged Warnings: | 1264.9639 | 41.4279 | 0.48057 | 1410.0083 | 92.3338 | 0.48428 | [9 empty] | October 17, 2022 | October | 17 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 2:25:42 PM | 51942 | 1150.7106 | 54.0834 | 42.22 | Spline | 0.038665 | 0.9 | 51942 | 0.99774 | 0.99773 | 0.99774
22 | LL4-FI12dp | 0.074421 | 0.0051057 | 0.0034039 | 0.0038055 | 102.9381 | 0.0085905 | 0.00048595 | 0.0085962 | 6.027 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.074421 | 0.0051057 | 0.077287 | 0.0041643 | -0.14966 | 0.0067537 | SupCrit | 103.1718 | 0.0085962 | 1285.5422 | 0.0076697 | 378.0042 | 1285.5422 | 517.7731 | 0.51723 | 3.7483 | 0.60843 | 1.0345 | Flagged Warnings: | 1388.714 | 0.0038821 | 642.2395 | 1388.714 | 717.874 | 0.46352 | 0 | 3.5136 | 0.3636 | 0.92705 | Flagged Warnings: | 1265.2201 | 44.5992 | 0.45054 | 1410.1227 | 88.9014 | 0.52049 | [9 empty] | October 17, 2022 | October | 17 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 2:37:14 PM | 52634 | 1150.7106 | 200.951 | 147.7666 | Spline | 0.16263 | 3.8 | 52634 | 0.99773 | 0.99773 | 0.99774
23 | LL4-FI10-#1 | 0.16652 | 0.0047228 | 0.0025767 | 0.003958 | 103.1705 | 0.0065029 | 0.00048878 | 0.0064992 | 6.011 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.16652 | 0.0047228 | 0.17037 | 0.0035479 | 0.019556 | 0.0049397 | SupCrit | 103.4052 | 0.0064992 | 1284.9196 | 0.0059353 | 582.7811 | 1284.9197 | 1079.2146 | 0.69512 | 4.8388 | 0.6235 | 1.3902 | Flagged Warnings: | 1388.3249 | 0.002648 | 1144.4791 | 1388.3248 | 1675.7621 | 0.54166 | 0 | 4.8627 | 0.65927 | 1.0833 | Flagged Warnings: | 1264.8074 | 109.96 | 1.1647 | 1409.5194 | 183.1492 | 0.87241 | [9 empty] | October 17, 2022 | October | 17 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 2:48:12 PM | 53292 | 1150.2681 | 336.7105 | 229.3095 | Spline | 0.12222 | 2.9 | 53292 | 0.99773 | 0.99773 | 0.99774
24 | LL4-FI10-#2 | 0.17679 | 0.0036033 | 0.0027124 | 0.002372 | 103.1863 | 0.006676 | 0.00048969 | 0.0066732 | 6.009 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.1728 | 0.0047817 | 0.17679 | 0.0036033 | 0.030657 | 0.0050298 | SupCrit | 103.4212 | 0.0066732 | 1284.924 | 0.0060868 | 551.3974 | 1284.924 | 987.6232 | 0.65216 | 4.2323 | 0.6979 | 1.3043 | Flagged Warnings: | 1388.3453 | 0.0027353 | 1039.2721 | 1388.3452 | 1500.0182 | 0.53911 | 0 | 4.6829 | 0.63546 | 1.0782 | Flagged Warnings: | 1264.5232 | 107.4998 | 1.0366 | 1409.7085 | 129.2133 | 0.69132 | [9 empty] | October 17, 2022 | October | 17 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 2:53:03 PM | 53583 | 1150.2681 | 231.7868 | 169.7219 | Spline | 0.093175 | 2.2 | 53583 | 0.99773 | 0.99772 | 0.99773
25 | LL4-FI10-#3 | 0.17652 | 0.0054442 | 0.0049002 | 0.0023721 | 103.1857 | 0.012062 | 0.00049062 | 0.012079 | 5.999 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.17254 | 0.006221 | 0.17652 | 0.0054442 | 0.030198 | 0.0086457 | SupCrit | 103.4208 | 0.012079 | 1284.9136 | 0.011061 | 334.59 | 1284.9137 | 630.6488 | 0.64652 | 4.6474 | 0.83706 | 1.293 | Flagged Warnings: | 1388.3345 | 0.0048546 | 618.1037 | 1388.3344 | 892.2827 | 0.53985 | 0 | 4.5619 | 0.63267 | 1.0797 | Flagged Warnings: | 1264.9918 | 50.0619 | 0.67538 | 1409.6272 | 109.5577 | 0.8711 | [9 empty] | October 17, 2022 | October | 17 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 2:58:12 PM | 53892 | 1150.2976 | 148.4971 | 106.4447 | Spline | 0.097507 | 2.3 | 53892 | 0.99773 | 0.99772 | 0.99773
26 | LL4-FI10-#4 | 0.17889 | 0.0043966 | 0.0037022 | 0.0023715 | 103.1915 | 0.0091063 | 0.00049157 | 0.0091137 | 6.018 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.17485 | 0.0053811 | 0.17889 | 0.0043966 | 0.034281 | 0.0066292 | SupCrit | 103.4268 | 0.0091137 | 1284.8997 | 0.0084514 | 392.7117 | 1284.8998 | 734.7181 | 0.6728 | 4.0463 | 0.72764 | 1.3456 | Flagged Warnings: | 1388.3266 | 0.0034108 | 788.3411 | 1388.3266 | 1134.4499 | 0.51425 | 0 | 4.1151 | 0.74216 | 1.0285 | Flagged Warnings: | 1264.8789 | 81.3916 | 1.178 | 1409.5399 | 101.6915 | 0.79185 | [9 empty] | October 17, 2022 | October | 17 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 3:03:02 PM | 54182 | 1150.2681 | 210.4165 | 156.7215 | Spline | 0.11257 | 2.6 | 54182 | 0.99773 | 0.99772 | 0.99773
27 | LL4-FI10-#5 | 0.17653 | 0.0034958 | 0.0025678 | 0.0023721 | 103.1857 | 0.0063205 | 0.00049258 | 0.0063157 | 5.996 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.17254 | 0.0047043 | 0.17653 | 0.0034958 | 0.030215 | 0.0048005 | SupCrit | 103.4212 | 0.0063157 | 1284.9013 | 0.0058012 | 625.6044 | 1284.9014 | 1143.4357 | 0.63777 | 4.9947 | 0.79786 | 1.2755 | Flagged Warnings: | 1388.3226 | 0.0024967 | 1152.2144 | 1388.3225 | 1685.3972 | 0.55882 | 0 | 4.6255 | 0.57931 | 1.1176 | Flagged Warnings: | 1264.7305 | 96.1693 | 0.83746 | 1409.6828 | 166.2634 | 0.77373 | [9 empty] | October 17, 2022 | October | 17 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 3:08:16 PM | 54496 | 1150.2681 | 264.2244 | 194.9428 | Spline | 0.093404 | 2.2 | 54496 | 0.99772 | 0.99772 | 0.99773
28 | LL4-FI10-#6 | 0.17522 | 0.0031086 | 0.0020087 | 0.0023724 | 103.1825 | 0.0049463 | 0.00049467 | 0.0049327 | 6.007 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.17127 | 0.0044337 | 0.17522 | 0.0031086 | 0.027958 | 0.0039354 | SupCrit | 103.4183 | 0.0049327 | 1284.9162 | 0.0045078 | 660.6538 | 1284.9162 | 1228.7969 | 0.67821 | 3.9983 | 0.69443 | 1.3564 | Flagged Warnings: | 1388.3345 | 0.0020028 | 1282.0723 | 1388.3345 | 1851.3744 | 0.53676 | 0 | 4.062 | 0.64742 | 1.0735 | Flagged Warnings: | 1264.67 | 133.8184 | 1.0341 | 1409.653 | 168.5064 | 0.89004 | [9 empty] | October 17, 2022 | October | 17 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 3:18:12 PM | 55092 | 1150.2681 | 308.1371 | 213.6077 | Spline | 0.10004 | 2.4 | 55092 | 0.99772 | 0.99772 | 0.99772
29 | LL4-FI10-#7 | 0.16069 | 0.013522 | 0.012937 | 0.003936 | 103.1558 | 0.032649 | 0.00049581 | 0.032719 | 6.017 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.16069 | 0.013522 | 0.1644 | 0.013428 | 0.0091798 | 0.023136 | SupCrit | 103.3917 | 0.032719 | 1284.9249 | 0.028591 | 108.9544 | 1284.9249 | 198.0467 | 0.71371 | 3.458 | 0.51026 | 1.4274 | Flagged Warnings: | 1388.3167 | 0.01591 | 252.9509 | 1388.3167 | 324.6785 | 0.40914 | 0 | 3.702 | 1 | 0.81829 | Flagged Warnings: | [15 empty] | October 17, 2022 | October | 17 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 3:23:50 PM | 55430 | 1150.2976 | 52.3063 | 39.3309 | Spline | 0.10006 | 2.4 | 55430 | 0.99772 | 0.99771 | 0.99772
30 | LL4-FI10-#8 | 0.17697 | 0.0030673 | 0.0019447 | 0.002372 | 103.1868 | 0.0047862 | 0.0004976 | 0.0047712 | 6.023 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.17298 | 0.0044124 | 0.17697 | 0.0030673 | 0.030977 | 0.0038325 | SupCrit | 103.423 | 0.0047712 | 1284.91 | 0.0042843 | 723.638 | 1284.91 | 1311.4265 | 0.68518 | 4.0281 | 0.60558 | 1.3704 | Flagged Warnings: | 1388.3331 | 0.0020998 | 1371.111 | 1388.3331 | 2026.3944 | 0.55146 | 0 | 4.3993 | 0.6381 | 1.1029 | Flagged Warnings: | 1264.6665 | 144.4502 | 1.0148 | 1409.6606 | 209.5283 | 0.82983 | [9 empty] | October 17, 2022 | October | 17 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 3:30:47 PM | 55847 | 1150.2681 | 301.0277 | 224.244 | Spline | 0.090187 | 2.1 | 55847 | 0.99772 | 0.99771 | 0.99772
31 | LL4-FI10-#9 | 0.15742 | 0.012826 | 0.012211 | 0.0039244 | 103.1475 | 0.030816 | 0.00049972 | 0.030883 | 6.021 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.15742 | 0.012826 | 0.16106 | 0.012687 | 0.0033476 | 0.021901 | SupCrit | 103.384 | 0.030883 | 1284.9498 | 0.029081 | 158.0835 | 1284.9498 | 309.6131 | 0.70036 | 5.4551 | 0.73751 | 1.4007 | Flagged Warnings: | 1388.3338 | 0.010394 | 321.6422 | 1388.3338 | 453.3049 | 0.55993 | 0 | 5.3009 | 0.47856 | 1.1199 | Flagged Warnings: |  |  |  | 1409.683 | 63.8028 | 0.70286 | [9 empty] | October 17, 2022 | October | 17 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 3:40:01 PM | 56401 | 1150.1796 | 81.0373 | 57.2861 | Spline | 0.10622 | 2.5 | 56401 | 0.99771 | 0.99771 | 0.99772
32 | LL4-FI10-#10 | 0.17192 | 0.0097241 | 0.00943 | 0.0023732 | 103.1743 | 0.023244 | 0.00050534 | 0.023292 | 6.008 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.16804 | 0.010027 | 0.17192 | 0.0097241 | 0.022246 | 0.016432 | SupCrit | 103.4113 | 0.023292 | 1284.9076 | 0.021494 | 144.9365 | 1284.9076 | 261.9412 | 0.67678 | 3.671 | 0.63298 | 1.3536 | Flagged Warnings: | 1388.3189 | 0.0089717 | 279.7593 | 1388.3189 | 387.0245 | 0.51962 | 0 | 3.6895 | 0.62388 | 1.0392 | Flagged Warnings: | [15 empty] | October 17, 2022 | October | 17 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 4:00:03 PM | 57603 | 1150.1796 | 58.3271 | 48.5086 | Spline | 0.089877 | 2.1 | 57603 | 0.99771 | 0.9977 | 0.99771
33 | LL4-FI10-#11 | 0.15988 | 0.0047901 | 0.0027342 | 0.0039331 | 103.1538 | 0.0069004 | 0.00050759 | 0.0068975 | 6.048 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.15988 | 0.0047901 | 0.16358 | 0.0036661 | 0.0077417 | 0.0052245 | SupCrit | 103.3909 | 0.0068975 | 1284.9602 | 0.0063929 | 512.7243 | 1284.9603 | 889.0729 | 0.62835 | 4.079 | 0.70909 | 1.2567 | Flagged Warnings: | 1388.3512 | 0.0025897 | 955.8585 | 1388.3512 | 1350.0196 | 0.51957 | 0 | 3.9856 | 0.67269 | 1.0391 | Flagged Warnings: | 1264.7315 | 78.92 | 0.7502 | 1409.7711 | 94.1682 | 0.58474 | [9 empty] | October 17, 2022 | October | 17 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 4:07:58 PM | 58078 | 1150.2681 | 196.7778 | 148.1895 | Spline | 0.087883 | 2.1 | 58078 | 0.99771 | 0.9977 | 0.99771
34 | LL4-FI10-#12 | 0.17643 | 0.0034597 | 0.0025185 | 0.0023721 | 103.1855 | 0.0061994 | 0.0005098 | 0.0061926 | 6.049 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.17244 | 0.0046786 | 0.17643 | 0.0034597 | 0.030036 | 0.0047229 | SupCrit | 103.4228 | 0.0061926 | 1284.8863 | 0.0056046 | 475.188 | 1284.8863 | 872.7328 | 0.65753 | 3.3956 | 0.73796 | 1.3151 | Flagged Warnings: | 1388.3091 | 0.0026339 | 888.3961 | 1388.3091 | 1307.3623 | 0.55164 | 0 | 3.7124 | 0.62663 | 1.1033 | Flagged Warnings: | 1264.7517 | 89.0985 | 0.91319 | 1409.7087 | 113.8903 | 0.82804 | [9 empty] | October 17, 2022 | October | 17 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 4:14:37 PM | 58477 | 1150.2976 | 207.7847 | 154.4674 | Spline | 0.09531 | 2.2 | 58477 | 0.99771 | 0.9977 | 0.99771
35 | LL4-FI10-#13 | 0.16753 | 0.005398 | 0.0036662 | 0.0039619 | 103.173 | 0.0092526 | 0.00051282 | 0.0092596 | 6.018 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.16753 | 0.005398 | 0.17139 | 0.0044406 | 0.021331 | 0.0067641 | SupCrit | 103.4105 | 0.0092596 | 1284.8888 | 0.0083564 | 372.5903 | 1284.8888 | 673.1818 | 0.64297 | 4.0792 | 0.75202 | 1.2859 | Flagged Warnings: | 1388.2994 | 0.0039888 | 673.5523 | 1388.2993 | 986.4779 | 0.56158 | 0 | 4.1856 | 0.57007 | 1.1232 | Flagged Warnings: | 1264.3664 | 57.0791 | 1.2304 | 1409.7529 | 110.8614 | 0.77507 | [9 empty] | October 17, 2022 | October | 17 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 4:24:13 PM | 59053 | 1150.2681 | 181.6548 | 125.72 | Spline | 0.10945 | 2.6 | 59053 | 0.9977 | 0.9977 | 0.99771
36 | LL4-FI12-#1 | 0.10218 | 0.0062875 | 0.0050044 | 0.0038064 | 103.0081 | 0.01263 | 0.00051539 | 0.012648 | 12.009 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.10218 | 0.0062875 | 0.10512 | 0.0055721 | -0.097438 | 0.0095152 | SupCrit | 103.2453 | 0.012648 | 1285.3414 | 0.010859 | 856.6187 | 1285.3414 | 1098.3046 | 0.52593 | 13.6589 | 0.39032 | 1.0519 | Flagged Warnings: | 1388.5868 | 0.0064851 | 1428.1446 | 1388.5867 | 1738.7553 | 0.4869 | 0 | 12.6683 | 0.46119 | 0.97379 | Flagged Warnings: |  |  |  | 1409.9609 | 235.848 | 0.64981 | [9 empty] | October 17, 2022 | October | 17 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 4:34:19 PM | 59659 | 1150.7106 | 200.6988 | 144.5902 | Spline | 0.070742 | 1.7 | 59659 | 0.9977 | 0.9977 | 0.99771
37 | LL4-FI12-#2 | 0.1026 | 0.024958 | 0.024666 | 0.0038067 | 103.0092 | 0.06225 | 0.00051724 | 0.062392 | 12.054 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.1026 | 0.024958 | 0.10553 | 0.024925 | -0.09667 | 0.045958 | SupCrit | 103.2464 | 0.062392 | 1285.3684 | 0.060441 | 467.5818 | 1285.3684 | 504.4882 | 0.34275 | 12.9047 | 1 | 0.6855 | Flagged Warnings: | 1388.6148 | 0.015478 | 562.5253 | 1388.6148 | 583.5614 | 0.48728 | 0 | 14.4359 | 1.5497e-11 | 0.97457 | Flagged Warnings: |  |  |  | 1410.2488 | 75.358 | 0.86129 | [9 empty] | October 17, 2022 | October | 17 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 4:39:38 PM | 59978 | 1130.4459 | 22.1238 | 30.1604 | Spline | 0.020333 | 0.5 | 59978 | 0.9977 | 0.9977 | 0.99771